## Slide 1: Association of Energy Engineers Randy Haines, CEM, CLEP, CMVP Energy Manager, Jefferson
April 20, 2016

## Slide 3: A little background for Jefferson
Teaching Hospital and University in Center City founded in 1825.
More than 4 million square feet and 14,000 employees
Electrical peak is 21 megawatts
Consume more than 130,000,000 kWh per year
One third of our electricity comes from a PA. wind farm
Started an Energy Program in 1999, have saved more than $123 Million
Have installed more than $18 M in new energy saving equipment.
Just underway on a new group of energy projects for $10.6M

## Slide 4
Chart: 
| 40575 | 40603 | 40634 | 40664 | 40695 | 40725 | 40756 | 40787 | 40817 | 40848 | 40878 | 40909 | 40940 | 40969 | 41000 | 41030 | 41061 | 41091 | 41122 | 41153 | 41183 | 41214 | 41244 | 41275 | 41306 | 41334
Wind generated electricity | 4987151.04 | 4831762.3 | 5341106.3616 | 3095821.82 | 1624685.82 | 1442632.74 | 2145100.18 | 1882134.62 | 3561988.04 | 4693843.3 | 4475931.28 | 5824779.1 | 4610172.44 | 4420763.68 | 4644192.46 | 2337267.32 | 2669192.38 | 1580551.74 | 1254143.44 | 2400710.06 | 3225465.68 | 3778061.14 | 5226210.64 | 4658903.82 | 4726024.4 | 5639048.18
Non Wind generated electricity | 3327061.48 | 3636364.7 | 3979708.6384 | 8332511.18 | 10123322.98 | 11615308.26 | 8089016.82 | 10045462.38 | 7113693.96 | 4333148.7 | 5519790.72 | 4203199.9 | 4819338.56 | 4621467.32 | 4664614.54 | 7143307.68 | 9009694.62 | 12648589.26 | 10970083.56 | 10201788.94 | 8921758.32 | 6373897.86 | 4024952.36 | 4926335.18 | 3848975.6 | 2869812.82

## Slide 5
Chart: 
| Electricity | Steam | Water | Chilled Water | Nat. Gas
FY 15/16 | 10745405 | 3991241 | 1312700 | 5136010 | 40000


FY 15/16 Energy Budget, Total $21.3M

## Slide 6: Energy Efficiency rates and costs to Jefferson
Program Year (June 1- May 31) | EEPC $/kw-PLC | Total cost
Phase I, 2010-2013 | $0.91 | $750,000.00
Phase II, 2013-2016 | $0.79 | $500,000.00
Phase III, 2016-2017 (no DR) | $0.60 | 
Phase III, 2017-2018 | $1.05 | 
Phase III, 2018-2019 | $1.06 | 
Phase III, 2019-2020 | $1.06 | 
Phase III, 2020-2021 | $0.98 | $1,250,000.00
Total Cost |  | $2,500,000.00

## Slide 7
We are replacing 85,000 lamps-50,000 T-8’s and 35,000 LED’s

## Slide 8: Optimizing our 3300 ton chiller plant and installing Micro steam turbine generator

## Slide 9: Tying in the lighting occupancy sensors to the Building Automation System

## Slide 11: What savings do we expect when this is done?
Reduce our electric consumption by 14,800,000 kWh
Reduce our electric peak by 1,530 kW
Have all new lamps and ballasts with a 3 year (T-8’s) or 5 year (LED’s) warranty
Reduce our steam consumption by 10,700 mmBTU
Reduce our chilled water consumption by 334,000 ton-hrs.
Save $2 million per year
Receive nice big rebate checks from PECO!
Working with a consultant, we are submitting many more smaller projects and putting the money back into more projects.

## Slide 12: Questions?
Randolph.Haines@jefferson.edu
phone x3-6099
Thank You